Note: Driver Help Files

Product:	Interact 5 and 6

Date:	2/22/02

Application Note

While precautions have been taken in the preparation of this note, CTC and the author assume no responsibility for errors or omissions.  Neither is any liability assumed for damages resulting from the use of the information contained herein.

# Using the Interact Device Driver Help Files

- Information about PLC addressing, cable pinouts and driver error listings are available to Interact users in the C:\[machshop]\interact\drivers\[driver_name]\w[driver_name].hlp file. Consider the Modicon Modbus driver MBUS. Its Windows help file wmbus.hlp, is located in the C:\machshop\interact\drivers\mbus directory. The driver help files can be accessed in Windows development using the procedure outlined below:

- In Interact, (1) double-click on your device driver, in this case MBUS, to launch its configuration window. (2) Select the Help button to launch the topic-specific Interact help. In this case the help window describes the settings under the COM port tab of the driver. (3) To access more general help information about the MBUS driver, select the Contents button.

- The device driver help will now display the general contents window. The Interface Compatibility section contains information on cable diagrams. Driver Configuration is the section first accessed when you select Help in the driver configuration window. Use the Addressing Format window to determine proper Interact syntax for the driver, and the Error Handling option for troubleshooting errors in the Application Manager Runtime Error Log.